## MANIFOLD ASSEMBLY

ITEM			VENDOR			QUANTITY		PART NO.		PRICE

STANDOFF 1/8 IN.		MCMASTER-CARR		6			91125A120 (6-32)		$01.08 EA.

STANDOFF 3/8 IN.		MCMASTER-CARR		6			91125A160 (6-32)		$01.16 EA.

6-32x1/4 PAN HD.		MCMASTER-CARR		6			91735A144		$00.20 EA.

6-32x1/8 SET SCREW	MCMASTER-CARR		2			92313A142		$00.25 EA.

SOLENOID VALVE		CLIPPARD		3			EC-2M-6			$18.80 EA.

CONNECTOR		CLIPPARD		3			C2-RB18			$01.25 EA.

MUFFLER		MCMASTER-CARR		3			4450K31			$01.15 EA.

FEEDTHROUGH		OMNI-SPECTRA		3			2098-3323-94		SAMPLED

HERMETIC MICRODOT	CERAMASEAL		1			11291-03-W		SAMPLED

GAS & GROUND TUBE	MCMASTER-CARR		3	PACK 20		8859K17			$10.13

SEALANT		MCMASTER-CARR		1			4538K1			$10.93

#6 FLAT WASHER		MCMASTER-CARR		6	PACK 500	98017A614		$07.58

#6 WAVE WASHER	MCMASTER-CARR		6	PACK 50		9714K42			$14.90

6-32x3/4 FH PHILLIPS	MCMASTER-CARR		12			91500A151		$00.25 EA.

6-32x1/2 STUD		MCMASTER-CARR		6	PACK 100	95412A415		$08.00

## SENSOR ASSEMBLY

TEFLON INSULATOR				3						FABBED

TEFLON RING					3						FABBED

TEFLON TUBE		MCMASTER-CARR		3	5 FEET		51805K51		$00.83/FT.

BeCu CONTACT		MICROTECH		3						FABBED

8-32x3/8 PAN HD.		MCMASTER-CARR		3			91735A192		$00.20 EA.

FLAT WASHER		MCMASTER-CARR		3	PACK 500	90945A725		$09.17

WAVE WASHER		MCMASTER-CARR		3			9714K42 (SEE ABOVE)

INSULATING WASHER	MCMASTER-CARR		3	PACK 100	90062A009		$04.95

## KNOB ASSEMBLY

SPRING PLUNGER	MCMASTER-CARR		2			84985A41 (LOCKING)	$04.53 EA.

6-32x1/4 FH HEX		MCMASTER-CARR		2	PACK 100	92210A144		$05.12

ACTUATOR (MAGNET)	MCMASTER-CARR		1			5768K21			$05.52 EA.

SHOULDER BOLT		MCMASTER-CARR		1			94045A205		$02.92 EA.

## “O” RINGS

003  1/16x3/16x1/16	MCMASTER-CARR		1			9464K342-003		SAMPLED

006  1/8x1/4x1/16		MCMASTER-CARR		1			9464K11			SAMPLED

220  1-3/8x1-5/8x1/8	MCMASTER-CARR		2			9464K42			SAMPLED

245  4-3/8x4-5/8x1/8	MCMASTER-CARR		1			9464K342-245		SAMPLED

256  5-3/4x6x1/8		MCMASTER-CARR		1			9464K342-256		SAMPLED

261  6-3/4x7x1/8		MCMASTER-CARR		1			9464K342-261		SAMPLED

## DISPLAY ASSEMBLY

CONDUIT		CAJON			1			SS-TH4PM4PM4-24

HOUSING		DIGIKEY			1			HM151-ND (1590B)

## MAIN HOUSING

OXYGEN FILTER		NUPRO			1			SS-4FW5-7

DRAW LATCH		MCMASTER-CARR		3			1864A17			$10.69 EA.

## CANISTER ASSEMBLY

### HOLD DOWN ROD		MCMASTER-CARR		1	6 FT.		89325K21		$06.34 EA.

ROD HOUSING		MCMASTER-CARR		1	2 FT.		8585K11			$00.58/FT.

CANNISTER		MCMASTER-CARR		1	2 FT.		8585K23			$21.84/FT.

END PLATE		MCMASTER-CARR		1	12X12		8574K28			$06.54 EA.

ABSORBENT PLATE	MCMASTER-CARR		1	12X12		8574K26			$03.56 EA.

KNOB			MCMASTER-CARR		1			6479K17			$00.88 EA.